# Field Inspection Report

This report is auto generated from Survey123 mirroring field submissions. The field notes are cleaned using OpenAI gpt-4o-mini, whilst maps are generated locally.

## Site 94 — 2026-04-15

| Inspector | Alice Mouton |
| --- | --- |
| Coordinates | 30.2241, -92.0198 |
| Creation date | 2026-04-15 |

Inspector observation:

Cracked DI top.

| Site photo | Location map |
| --- | --- |

## Site 95 — 2026-04-15

| Inspector | Bob Hebert |
| --- | --- |
| Coordinates | 30.2305, -92.0254 |
| Creation date | 2026-04-15 |

Inspector observation:

The DI top is cracked on the edge.

| Site photo | Location map |
| --- | --- |

## Site 96 — 2026-04-16

| Inspector | Alice Mouton |
| --- | --- |
| Coordinates | 30.2189, -92.0142 |
| Creation date | 2026-04-16 |

Inspector observation:

Sloping TP to the building.

| Site photo | Location map |
| --- | --- |

## Site 97 — 2026-04-16

| Inspector | Coy LeBlanc |
| --- | --- |
| Coordinates | 30.235, -92.0301 |
| Creation date | 2026-04-16 |

Inspector observation:

The grading TP step is not correct.

| Site photo | Location map |
| --- | --- |

## Site 98 — 2026-04-17

| Inspector | Bob Hebert |
| --- | --- |
| Coordinates | 30.226, -92.022 |
| Creation date | 2026-04-17 |

Inspector observation:

Conduit exposed at base needs cover ASAP.

| Site photo | Location map |
| --- | --- |